## Slide 1: Modular Super Resolution Fluorescent Microscopy
MSRFM
Tawab Karim

## Slide 2: Introduction
Introduction to Super Resolution
Open Source Modular Microscope
Future plans
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small introduction about what fluorescent microscopy is and tell a bit about the physical limit to how small of an object you are able to see. I will continue with how you can work your way around this physical limit. After this introduction I will tell you about the different setups that we’ve been working on the software that goes with it. And I will conclude with some future plans.

## Slide 3: Fluorescence Microscopy
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small intro

## Slide 4: Fluorescence Microscopy
Advantages:
Specific labelling
Live cell microscopy
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small intro

## Slide 5: Fluorescence Microscopy
Advantages:
Specific labelling
Live cell microscopy
Disadvantages:
Diffraction limit
  For λ = 488 nm
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small intro

## Slide 6: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 7: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
t1
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 8: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
t2
t1
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 9: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
t2
t1
t3
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 10: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
…
t2
t1
t3
…
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 11: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
…
t2
t1
t3
…
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 12: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
…
x
x
x
x
t2
t1
t3
…
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 13: Super Resolution Fluorescence Microscopy
Localization Microscopy
Stochastic blinking of molecules
Estimate the molecules positions
Introduction
SRFM
EPI
TIRF
DMD
Future
…
x
x
x
x
t2
t1
t3
…
3 μm
Notes: Super resolution fluorescence microscopy is an adaptation of fluorescence microscopy. I’ll start of with a small int
MlE
Put in the nature paper
Put in about the nobel prize of 2014 icon

## Slide 14: Super Resolution Fluorescent Microscopy
Lots of algorithms
Applications in Biology
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.
We develop a lot of algorithms here at DCSC, which we want to decamenate. Because we want bio to use it later on
Lo cost
Easy to build
Plug and play with algo
Thus modular

## Slide 15: Super Resolution Fluorescent Microscopy
Lots of algorithms
Applications in Biology
Low cost
Easy to build
Plug and play with the algorithms
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.
We develop a lot of algorithms here at DCSC, which we want to decamenate. Because we want bio to use it later on
Lo cost
Easy to build
Plug and play with algo
Thus modular

## Slide 16: Epi-fluorescent Microscopy
Fluorescent Microscope
Laser
Dichroic mirror
Objective
Camera
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.
We develop a lot of algorithms here at DCSC, which we want to decamenate. Because we want bio to use it later on
Lo cost
Easy to build
Plug and play with algo
Thus modular

## Slide 17: Epi-fluorescent Microscopy
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.
We develop a lot of algorithms here at DCSC, which we want to decamenate. Because we want bio to use it later on
Lo cost
Easy to build
Plug and play with algo
Thus modular

## Slide 18: Epi-fluorescent Microscopy
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.
We develop a lot of algorithms here at DCSC, which we want to decamenate. Because we want bio to use it later on
Lo cost
Easy to build
Plug and play with algo
Thus modular

## Slide 19: Total Internal Reflection Fluorescent Microscopy
Going from EPI to TIRF
Linear translation in excitation path needed
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Add in other slides with animation of how the linear stage causes the illumination path to shift

## Slide 20: Total Internal Reflection Fluorescent Microscopy
Going from EPI to TIRF
Linear translation in excitation path needed
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Add in other slides with animation of how the linear stage causes the illumination path to shift

## Slide 21: Total Internal Reflection Fluorescent Microscopy
Going from EPI to TIRF
Linear translation in excitation path needed
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Add in other slides with animation of how the linear stage causes the illumination path to shift

## Slide 22: Total Internal Reflection Fluorescent Microscopy
Going from EPI to TIRF
Linear translation in excitation path needed
INSERT PICTURE
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Add in other slides with animation of how the linear stage causes the illumination path to shift

## Slide 23: Total Internal Reflection Fluorescent Microscopy
Linear translation stage with controller
Specifications:
30 mm translation
Yaw angle adjustable
Modular
B-splines
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Make more clear the development between the different hardware setups, so show the progress via a render from above (fade the different components in fe)

## Slide 24: Digital Micromirror Device
Adds SIM/SIMFLUX possibilities
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 25: Digital Micromirror Device
Adds SIM/SIMFLUX possibilities
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 26: Digital Micromirror Device
Adds SIM/SIMFLUX possibilities
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 27: Digital Micromirror Device
Adds SIM/SIMFLUX possibilities
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 28: Digital Micromirror Device
Introducing a DMD to the setup.
Introduction
SRFM
EPI
TIRF
DMD
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 29: What is to come?
More modularity
More microscopes
Ease of use
Introduction
SRFM
EPI
TIRF
DMD
AIM
DM
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 30: What is to come?
More modularity
More microscopes
Ease of use
Multicolor
Website
Introduction
SRFM
EPI
TIRF
DMD
AIM
DM
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 31: What is to come?
More modularity
More microscopes
Ease of use
Multicolor
Website
And much more!
Introduction
SRFM
EPI
TIRF
DMD
AIM
DM
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.

## Slide 32: Questions?
Introduction
SRFM
EPI
TIRF
DMD
AIM
DM
Future
Notes: Pre build not flexible enough for research
Standard components from Thorlabs, expensive, to flexible (to many degrees of freedom).
Thinking about what you need and engineering to specs.